[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 3202100 - GAS VALVE ELBOW CONN. G1/2F 
[image: image14.jpg]Z\
BAXI




Characteristics :  Gas component
Technical characteristics : gas valve elbow outlet 
Material : aluminum pressure die cast + o-ring + screw
Weight :  0.060 Kg   ( Net. 0.052 Kg ) 
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
