[image: image1.png]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 3620640 -  CONNECTION SET MODULO
[image: image18.jpg]Z\
BAXI




[image: image2.png]



[image: image3.png]



[image: image4.png]



[image: image5.png]__________

_________




Characteristics : hydraulic component
Technical characteristics : kit of connection between boiler and DHW circuit
Material : copper + gasket + clip + brass nut + screws 
Weight : 0.712 Kg
[image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13][image: image14][image: image15][image: image16][image: image17]
