[image: image1.jpg]50y OL




                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5332470 -  CONTROL PANEL DGAI 50
[image: image14.jpg]Z\
BAXI




Characteristics : Electric component
Technical characteristics : 
Nominal tension : 230 Vac

Frequency : 50/60 Hz

Waiting time min: 10s

Stabilization time : 8s

Safety time max : 50s

Material : plastic cover + electronic PCB
Weight : 0.355 Kg   ( Net. 0.310 Kg )
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
