[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5640000 - PRESS.SWITCH ASSEMBLY 0.4mbar
[image: image15.png]



[image: image18.png]







[image: image2]
Characteristics : Flue pressure switch for FF gas boiler   
Technical characteristics :
Nominal tension : 250 Vac
Pressure : 0.4 mbar

Material : Flue pressure switch – bracket – silicon tube – fixing screw 
Weight : 0.133 Kg   ( Net. 0.125 Kg )   
[image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13][image: image14]
[image: image16.png]I



[image: image17.jpg]Z\
BAXI



