[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5652030 -  DRAINING TAP

[image: image16.png][Note:

- Working temperature: 90°C(penksof 105°C are admitted)
|- Max Working pressure 3 bar

- The item must to resist to a sealed test.
Pressure of 4.5 bar for 15 minutes

|- The 1tem must to supplied in CLOSE position





Characteristics : Hydraulic component
Technical characteristics : 
[image: image14.png]



Material : ABS + brass
Weight :  0.053 Kg   ( Net. 0.045 Kg ) 
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image15.jpg]Z\
BAXI



