[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5653610 -  GAS VALVE - SIGMA 845048

[image: image15.jpg]Z\
BAXI




Characteristics :  Gas component
Technical characteristics: 
Model : Sigma 845048
Maximum working pressure : 60mbar

Ambient operating temperature : -15°C ÷ +60°C

Class solenoid : J

Nominal tension : 230 Vac

Frequency : 50 Hz

Pressure regulator : setting range 1 ÷ 37 mbar

Material : pressure die cast + electric coil + mechanical component
Weight : 0.885 Kg   ( Net. 0.830 Kg )[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image14.png]


