[image: image1.png]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5661600 -  EXPANSION VESSEL 2 LT
[image: image14.jpg]Z\
BAXI




Characteristics : Hydraulic component 
Technical characteristics : 
Working pressure : 8 bar

Test pressure : 12 bar

Pre-charge pressure : 2.5 bar

Working temperature : -10 ± 100 °C

External finish : color white
Material : buckle plate + rubber
Weight : 1.324 Kg   ( Net. 1.024 Kg )
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
