[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5665220 -  GAS VALVE

[image: image15.jpg]Z\
BAXI




Characteristics :  Gas component
Technical characteristics: 
Model : VK4105M
Maximum working pressure : 60mbar

Ambient operating temperature : -15°C ÷ +60°C

Flow of air with loss of pressure 3bar : 3.4 m3/h

Ignition : rapid

Mounting : vertical

Operation gas : multigas

Class solenoid : B+J

Nominal tension : 220 ÷ 240 Vac

Frequency : 50 Hz

Earth connection : male faston 6.3x0.8

Pressure regulator : setting range 1.5 ÷ 20 mbar

Material : pressure die cast + electric coil + mechanical component
Weight : 0.820 Kg   ( Net. 0.760 Kg )[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image14.png]


