[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5667220 -  FLOW SWITCH

[image: image17.jpg]Z\
BAXI




Characteristics :  Hydraulic component
Technical characteristics : 

[image: image2]
Weight : 0.106 Kg   ( Net. 0.099 Kg )  
[image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13][image: image14]
[image: image15.png]MAX WORKING PRESSURE: svar

TEST PRESSURE: 12bar
| WORKING TEMPERATURE (AMBIENT): 3T +80C
MAX WORKING TEMPERATURE: 110T FOR 60"
WORKING CHARACTERISTICS WITH 1 bar OF PRESSURE :

ON <3umin

OFF Z1umin
MINIMUM PRESSURE TO SWITCH ON: 0,150ar
LENGTH: N"500.000 OPERATION
MOUNTING POSITION: VERTICAL
[ TORQUE FORCE FOR G172 JOINT EXIT WAY: S1oNm
ELECTRIC CHARACTERISTICS FOR REED-SWITCH
POWER: 30w
MAX WORKING TENSION: 250VAC 200VDC
MAX ELECTRIC CURRENT OVER oolmu:rs.-
DIELECTRIC RIGIDITY (REED SWi SOOVAC
DIELECTRIC RIGDITY (BOD'-fAl’oll)c 1S00VAC 10MA MAX
INSULATION: S00VDC R GREATER D 2 Mohm
FASTON TAB: 6.3%0,8 mm
MATERIAL:
s0DY: NYLON PA 65 30% FV NERO
REED SUPPORT: NYLON PA 65 25% FVNERO
MAGNET: FERRIMAX 30
FLOAT: ULTRAFORM N2320 NERO

o-RING: EP PEROX WRC 70SH




[image: image16.png]


