[image: image1.png]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5671070 -  EXPANSION VESSEL
[image: image14.jpg]Z\
BAXI




Characteristics : Hydraulic component 
Technical characteristics : 
Working pressure : 3 bar

Test pressure : 4.5 bar

Pre-charge pressure : 0.8 bar ±10%
Max Working temperature : -15°C +90 °C

External finish : color red
Material : buckle plate + rubber + polystyrene
Weight : 9.260 Kg
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
