[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5686680 -  DHW PLATE EXCHANGER 14 PLATES
[image: image14.jpg]Z\
BAXI




Characteristics :  Hydraulic component
Technical characteristics :
	
	Primary
	Secondary

	Max work pressure
	3 bar
	8 bar

	Test pressure
	4.5 bar
	12 bar


Material : copper – chromium – nickel - molybdenum 
Weight : 0.770 Kg   ( Net. 0.722 Kg )   
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
