[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 5702340 -  GAS VALVE VK4105G M-M G3/4

[image: image16.png]FEATURES:

Model:  VK4105G 1138

Maximum working pressure: 60 mbar

Ambient operating temperature: -15 = + 60T
Flow of air with loss of pressure 3 mbar: 2,5 m¥%h
Ignition: rapid

Mounting: vertical (horizontal axis scroll coils)
Operation gas: multigas

Class solenoid: B+J

Earth connection: male FASTON 6,3x0,8
Pressure regulator: setting range 2 + 37/50 mbar





Characteristics :  Gas component
Technical characteristics: 

[image: image14.png]



Material : pressure die cast + electric coil 

Weight : 0.784 Kg   ( Net. 0.729 Kg )[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image15.jpg]Z\
BAXI



