[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 0620860 -  H2O/GAS EXCHANGER 24KW+CLIP



[image: image17.jpg]Z\
BAXI






Characteristics : Hydraulic component  
Technical characteristics : primary exchanger with thermostat fixing clip 
Material : copper with protective coat + springs’ steel + clip 
Weight : 3.469 Kg 
[image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13][image: image14]
[image: image15.png]


[image: image16.png]


