[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 710421000 -  FLOW SWITCH ON/OFF
[image: image16.jpg]Z\
BAXI




Characteristics :  Hydraulic component
Technical characteristics : 

[image: image2]
Weight : 0.029 Kg   ( Net. 0.023 Kg )  
[image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13][image: image14]
[image: image15.png][BURST PRESSURE: 31,5 bar
(OPERATING TEMPERATURE: 3°C+85C
[MAX. OPERATION TEMP. (10 for one min.
OPERATING CHARACTERISTICS OF PRESSURE WITH 1
UISZ_’"III
OFF 2 12 min
MINIMUM ENTRY PRESSURE: 0,15 bar
DURATION: 500,000 operations
MOUNTING POSITION; Vertcal £ 5°
[ELECTRICAL CHARACTERISTICS OF THE REED SWITCH
[INEW CONTACT RESISTANCE: 'MAX 150 mOhm
MAX OPERATING VOLTAGE: 24VDC
MAX CURRENT CONTACTS: 40mA
[ELECTRICAL CONNECTION: EDGE TYPE, STEP 2.5 mm
MATERIAL:
[BODY FLOW: NYLON PA 66 30% FV Black
MAGNET: FERRITE ANISOTROPY

FLOAT: e WHITE
ORING COUPLING: OR 17,13x2,62 EPDM - 3068




