[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 710471200 -  RECT.EXPANSION VESSEL 6l

[image: image16.png]Characteristics:
Pre-charge pressure whit Nitrogen: 0.8*I~0.3 bar
3 bar

Max working pressure:

Max pressure test: 43 bar

Max working temperatur: -10:+90C

Membrane: elastomer in accordance DIN 4807
Base material: sheet matal Fe P12 UNI 5867
Threaded connection material: Fed2 UNI 3924

Inlet valve for nitrogen: Brass CW617N UNI EN 12164
Pressure fluids: Nitrogen and water

‘Welding threaded rod material: Projection welding process




Characteristics : Hydraulic component 
Technical characteristics : 
[image: image14.png]



Weight : 4,476 Kg
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image15.jpg]Z\
BAXI



