[image: image13.jpg]Z\
BAXI



                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 711550800 – DRAIN COCK ¾”  
[image: image14.png]



	
	
	

	
	
	
	
	
	
	

	
	
	


Characteristics :  Hydraulic component
Technical characteristics : Device to drain the boiler water
Material : Brass
Weight :  0.288 kg
[image: image1][image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12]
[image: image15.png]1100




[image: image16.png]


