[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8419570 –    CONNECTOR NAC
[image: image14.jpg]Z\
BAXI



      
Characteristics : Electric component
When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.
Technical Characteristics : 
Nominal tension : 230Vac – 50Hz
Range temperature : -20 °C +100 °C

Nominal frequency of discharges : 4Hz ±  9Hz to 230Vac 
Material : Cover in PA6 + 25% glass fiber color red + electric cable + plastic
Weight :  0,133 Kg  (net 0,125 Kg)
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
