[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8434260 -  TEMPERATURE SENSOR - DHW
[image: image14.jpg]Z\
BAXI




Characteristics :  temperature sensor
Technical characteristics :
- Sensitive element: Thermistor (NTC)

- Nominal resistance (25°C): 10000 ohm ± 1%

- Temperature coefficient: ß (25° - 85°C) 3435 ± 1%

- Measuring range: - 10° to 100°C
- Insulation voltage: 1500Vac (1")

Material : Copper + electric cable
Weight :   0.070 Kg  (net. 0.063 Kg )
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
