[image: image1.jpg]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8434930 -  CONTACT SENSOR
[image: image14.jpg]Z\
BAXI




Characteristics : electric component
Technical characteristics : 
pins and sensor isolated with polyamide
resistance to 25°C : 10KΩ  ±3%
temperature coefficient β : ( 25°C ± 85 °C ) 3977K ±0.75%
temperature of working : -50°C +90°C

Material : copper wire + plastic + rubber

Weight : 0.009 Kg   ( Net. 0.001 Kg )
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
