[image: image1.png]


                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8435220 –    ZAG 2V IGNITOR
[image: image14.jpg]Z\
BAXI



      
Characteristics : Electric component
When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.
Technical Characteristics : 
Nominal tension : 220 – 240Vac
Frequency : 50 – 60 Hz

Range temperature : -20 °C +85 °C

Absorbed power : max 3VA
Material : plastic color black + electric parts
Weight :  0,087 Kg  (net 0,079 Kg)
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
