[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8435360 -  NTC SENSOR

[image: image15.jpg]Z\
BAXI




Characteristics :  temperature sensor
Technical characteristics :
- Connector: TABS 2.8x0.5 mm
- Sensitive element: Thermistor (NTC)

- Nominal resistance (25°C): 10000 ohm ± 1%

- Temperature coefficient: ß (25° - 85°C) 3435 K ± 1%

- Measuring range: - 30° to 120°C

- Response time: 2.5 seconds 
- Insulation voltage: 1500Vac (1")

Material : 
- Body: Plastic and steel
Weight :   0.014 Kg  (net. 0.006 Kg )
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image14.png]


