[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 8620370 –    IGNITER VZ 225 SAC L=600                 


[image: image15.jpg]Z\
BAXI




Characteristics : Electric component
When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.
Technical Characteristics : 
Nominal tension : 220–240Vac – 50/60Hz +10% -15%

Range temperature : -20 °C +100 °C

Nominal frequency of discharges : 25 Hz ± 30% to 230Vac 
Max power absorption : 4.0 VA
Material : Cover in PA6 + 30% glass fiber color pale grey 
Weight :  0,117 Kg  (net 0,107 Kg)
[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12][image: image13]
[image: image14.png]


