[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 9950600 -  SAFETY VALVE 3 BAR
One of the following for items

[image: image13.jpg]Z\
BAXI










Setting 3 bar ( ± 0.3 bar ) 





Valve body in brass P-CuZn Pb2 UNI5705-65





Cover in nylon glass filled





Knob in ABS color RED

[image: image14.png]







Setting 3 bar ( ± 0.3 bar ) 





Valve body in brass P-CuZn Pb2 UNI5705-65





Cover in nylon glass filled





Knob in ABS color RED
[image: image15.png]







Setting 3 bar ( ± 0.3 bar ) 





Valve body in brass CW617N UNI EN 12165




Cover in nylon glass filled





Knob in ABS color RED
Weight : 0.120 Kg  ( Net. 0.112 )
[image: image16.png]


[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12]
