[image: image1]                                                                      Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111
code 9951690 -  PRESSURE SWITCH
Characteristic : Hydraulic component 

One of the following for items
[image: image13.jpg]Z\
BAXI










Technical characteristics :






Works’ range : 0.2 ÷ 6 bar







Admitted temperature : 120 °C







Difference between ON-OFF : 0.15 ÷ 0.4 bar






Setting value : 0.5 ± 0.1 bar









Nominal tension : 250 V ac






Material : plastics’ body and brass nipple
[image: image14.png]










Technical characteristics :






Works’ range : 0.2 ÷ 1.2 bar







Admitted temperature : 125 °C







Difference between ON-OFF : 0.15 ÷ 0.45 bar







Setting value : 0.5 ± 0.1 bar descent from 1.5 bar






Nominal tension : 250 V ac






Material : plastics’ body and nipple
[image: image15.png]ST











Technical characteristics :






Works’ range : 0.2 ÷ 2 bar







Admitted temperature : 100 °C







Difference between ON-OFF : 0.1 ÷ 0.8 bar







Nominal tension : 250 V ac






Material : plastics’ body and brass nipple






Weight : 0.033 Kg  ( Net. 0.025 Kg )[image: image16.png]Ch 17

N |
-1 € |- %
[ee]
@
Lt - !
CARUGATE] (MI) ITALY
TIPO PB 6412|/VAP-DR
RANGE 025 -b2 bar p
.max 4 ar i
AP o o8 N
NC 15A/250 ~~ NO 9A/250 =
p TA:100°C(UL:90"Cmax) o
wy
.\ WNIOR( - |
i
S g-ol
1’l\l w
~
3
- o: o]
c:l ‘CDI o~
e} paty
O\. -
Y Y |

G 1/4




[image: image2][image: image3][image: image4][image: image5][image: image6][image: image7][image: image8][image: image9][image: image10][image: image11][image: image12]
